## M1.Asset_Inventory
Asset_Inventory
Asset ID | Asset Name | Category | Owner | Location | Criticality | Personal Data? | Notes
A-001 | EMS Database | Data | IT Ops | HQ | 5 | Y | Core EMS (Dependencies: A-002)
A-002 | Active Directory | Software | IT Security | HQ | 5 | Y | Identity
A-003 | Workstations | Hardware | IT Ops | All Sites | 3 | Y | User (Dependencies: A-002)
A-004 | SCADA | Software | OT Manager | Site 1-3 | 5 | N | Control (Dependencies: A-006)
A-005 | IoT Sensors | Hardware | OT Manager | Site 1-3 | 4 | Y | Monitoring (Dependencies: A-006)
A-006 | Edge Gateway | Hardware | OT | Site 1-3 | 5 | N | Aggregation (Dependencies: A-005)
A-007 | API Gateway | Software | IT | DMZ | 4 | N | API (Dependencies: A-008)
A-008 | Data Broker | Software | IT | DMZ | 4 | N | Sync (Dependencies: A-001)
A-009 | Jump Host | Hardware | IT Security | DMZ | 5 | Y | Access (Dependencies: A-013)
A-010 | Data Lake | Data | Cloud | Cloud | 5 | Y | Storage (Dependencies: A-008)
A-011 | ESG Platform | Software | Sustainability | Cloud | 5 | Y | Reporting (Dependencies: A-010)
A-012 | Third-party APIs | Network | IT / Sustainability | Cloud | 4 | N | External ESG SaaS/API integrations (Dependencies: A-007)
A-013 | VPN | Network | IT Security | HQ | 5 | Y | Remote (Dependencies: A-002)
A-014 | Maintenance Staff | People | HR | All Sites | 3 | Y | Technicians with remote/VPN access (phishing risk) (Dependencies: A-013,A-009)
A-015 | PLC | Hardware | OT | Site 1-3 | 5 | N | Control (Dependencies: A-004)
A-016 | OPC UA | Software | OT | Site 1-3 | 4 | N | Comms (Dependencies: A-004)
A-017 | Modbus Devices | Hardware | OT | Site 1-3 | 4 | N | Legacy (Dependencies: A-015)
A-018 | Firewall | Network | IT Security | DMZ | 5 | N | Segmentation
A-019 | OTA Firmware Portal | Software | Vendor / IT Security | Cloud | 4 | N | Trust boundary with OTA vendor; signed firmware distribution (Dependencies: A-006,A-020)
A-020 | Firmware Signing Keys / CI Pipeline | Data | IT Security | HQ / Cloud | 5 | N | High-value secret; compromise enables signed malicious updates (Dependencies: A-019)
A-021 | MQTT Broker / IoT Hub | Software | IT / OT | DMZ / Cloud | 5 | N | Telemetry aggregation; also potential C2 covert channel (Dependencies: A-006,A-010)

## M1.CIA_Matrix
Scenario: Attack Scenario 3 - VPN Access → Stealth Persistence → Ransomware + Regulatory Fallout
Asset ID | Asset Name | Confidentiality | Integrity | Availability | Justification
A-001 | EMS Database | H | H | H | Critical for compliance
A-002 | Active Directory | H | H | H | Identity system
A-003 | Workstations | M | M | M | User systems
A-004 | SCADA | M | H | H | Controls production
A-005 | IoT Sensors | L | H | M | Monitoring
A-006 | Edge Gateway | M | H | H | Aggregation
A-007 | API Gateway | H | H | H | External exposure
A-008 | Data Broker | M | H | H | Sync
A-009 | Jump Host | H | H | H | Access control
A-010 | Data Lake | H | H | M | Storage
A-011 | ESG Platform | H | H | M | Reporting
A-012 | Third-party APIs | H | H | H | External integrations; expands attack surface
A-013 | VPN System | H | H | H | Remote access
A-014 | Maintenance Staff | M | H | M | Privileged access enables IT/OT pivot and misuse
A-015 | PLC | M | H | H | Safety-critical control; integrity/availability paramount
A-016 | OPC UA | M | H | H | OT communications gateway; compromise impacts command integrity
A-017 | Modbus Devices | L | H | H | Legacy devices; weak auth; integrity/availability critical
A-018 | Firewall | H | H | H | Segmentation control; failure enables pivot and broad compromise
A-019 | OTA Firmware Portal (Vendor) | H | H | M | Compromised update channel enables broad edge compromise
A-020 | Firmware Signing Keys / Update Pipeline | H | H | M | Key compromise enables trusted malicious firmware distribution
A-021 | MQTT Broker / IoT Hub | M | H | H | Carries telemetry and can conceal C2; outage disrupts monitoring/operations

## M1.Threat_List
Threat_List
Card ID | Title | Likelihood | Description | Remediations | Impact
TC-01 | API Compromise | Medium | Cybercriminal. Targets: A-010,A-011. Techniques/refs: T0830,T0865. Background threat (still relevant to overall posture). | API security hardening (WAF, rate limiting, input validation), OAuth scope minimization, secret rotation, SAST/DAST and monitoring of abnormal API calls. | Regulatory impact
TC-02 | OT Ransomware | High | Cybercriminal. Targets: A-004,A-006. Techniques/refs: T0866,T0886. Background threat (still relevant to overall posture). | OT segmentation, application allowlisting, immutable/offline backups, OT-safe EDR where feasible, incident response + recovery drills. | Shutdown
TC-03 | Insider | Medium | Insider. Targets: A-001. Techniques/refs: T0831. Background threat (still relevant to overall posture). | Least privilege + segregation of duties, PAM with session recording, immutable audit logs, insider monitoring, DLP for sensitive datasets. | Compliance breach
TC-04 | Sensor Spoofing | Medium | Hacktivist. Targets: A-005,A-006. Techniques/refs: T0855. Background threat (still relevant to overall posture). | Device identity/attestation, signed telemetry, plausibility/anomaly detection, calibration governance, redundancy and alerting on sensor drift. | False data
TC-05 | OTA Vendor Supply Chain Compromise | High | Cybercriminal / APT. Targets: A-019,A-020,A-006. Techniques/refs: T1195,T1608. Background threat (still relevant to overall posture). | Vendor due diligence, SBOM + signed update verification, secure build pipeline requirements, monitoring of update channel, contractual audit rights. | Malicious signed firmware distributed to edge; trust boundary breach
TC-06 | Edge Gateway Backdoor + MQTT C2 + Credential Harvesting | High | Cybercriminal / APT. Targets: A-006,A-005,A-021. Techniques/refs: T1547,T1071.004,T1003. Background threat (still relevant to overall posture). | Harden gateways, secure boot/firmware integrity, MQTT ACL allow-listing + topic monitoring, egress controls, credential vaulting/rotation. | Persistent foothold; stealth C2; credentials collected from embedded gateway
TC-07 | ESG/EMS Data Manipulation (CSRD Fraud) | High | Cybercriminal / APT. Targets: A-001,A-010,A-011. Techniques/refs: T1565. Background threat (still relevant to overall posture). | Data integrity controls (hashing, immutability), dual-control for report publication, lineage/audit trails, role-based publishing approval. | Regulatory fraud, reputational damage, incorrect sustainability reporting
TC-08 | OT Disruption via OPC UA → Modbus PLC Manipulation | High | Cybercriminal / APT. Targets: A-016,A-015,A-017,A-004. Techniques/refs: T0866,T0831,T0855. Background threat (still relevant to overall posture). | Harden OPC UA gateway, strict OT DMZ segmentation, protocol break/allow-listing, monitoring for abnormal commands, compensating controls for Modbus. | Operational disruption, environmental sabotage, safety impact
TC-09 | Technician VPN Credential Theft / Valid Accounts | High | Cybercriminal. Targets: A-014,A-013. Techniques/refs: T1078,T1555. Scenario 3 core threat (VPN→AD→Exfil→Ransomware). | Phishing-resistant MFA, conditional access, device posture checks, session binding, PAM for technicians, impossible-travel alerts and VPN log retention. | VPN initial access enables downstream AD compromise, exfiltration and ransomware (NIS2/GDPR reporting). (Scenario 3: drives incident escalation and regulatory reporting obligations).
TC-10 | Stealth Reconnaissance & Defense Evasion | High | Cybercriminal / APT. Targets: A-003,A-002. Techniques/refs: T1083,T1018,T1562. Scenario 3 core threat (VPN→AD→Exfil→Ransomware). | EDR with tamper protection, central logging/SIEM, detection for living-off-the-land, privileged activity monitoring, secure time sync and log immutability. | Enables undetected progression toward domain takeover; auditability failure (repudiation). (Scenario 3: drives incident escalation and regulatory reporting obligations).
TC-11 | Active Directory Privilege Escalation (Kerberoasting / Delegation Abuse) | High | Cybercriminal / APT. Targets: A-002. Techniques/refs: T1558.003. Scenario 3 core threat (VPN→AD→Exfil→Ransomware). | Tiered admin model, PAWs, Kerberos anomaly monitoring, LAPS/gMSA, enforce LDAP signing, patching of AD/DCs and reduce delegation exposure. | Domain compromise risk; enables mass ransomware and cross-boundary pivot. (Scenario 3: drives incident escalation and regulatory reporting obligations).
TC-12 | Lateral Movement + Backup Neutralisation | High | Cybercriminal / APT. Targets: A-002,A-003,A-009,A-001,A-018. Techniques/refs: T1021,T1562.001,T1490. Scenario 3 core threat (VPN→AD→Exfil→Ransomware). | Micro-segmentation + admin tiering, restrict lateral protocols (SMB/WinRM), backup isolation/immutability, restore testing, rapid containment playbooks. | Increases blast radius; disables recovery; prolongs outage and incident response. (Scenario 3: drives incident escalation and regulatory reporting obligations).
TC-13 | HR/EMS Data Exfiltration (GDPR breach) | High | Cybercriminal. Targets: A-001,A-010,A-011,A-014. Techniques/refs: T1041,T1567. Scenario 3 core threat (VPN→AD→Exfil→Ransomware). | DLP + egress monitoring, encryption at rest/in transit, least privilege on HR/EMS linkage, alert on bulk export, GDPR-ready IR playbook (Art. 33/34). | GDPR breach (Art. 33/34) + reputational harm; potential CSRD reporting disruption. (Scenario 3: drives incident escalation and regulatory reporting obligations).
TC-14 | Ransomware Deployment across IT + EMS | High | Cybercriminal. Targets: A-001,A-002,A-003,A-009,A-013. Techniques/refs: T1486,T1490. Scenario 3 core threat (VPN→AD→Exfil→Ransomware). | Immutable backups, EDR ransomware blocking, application allowlisting, rapid isolation procedures, crisis communications plan and recovery drills (IT+EMS). | Operational shutdown + NIS2 incident; compliance disruption across EMS/ESG reporting. (Scenario 3: drives incident escalation and regulatory reporting obligations).

## M1.Attack_Surface
Attack_Surface
Attack Surface Element | Corresponding Threats | Likely Attack Vectors
VPN System (A-013) | TC-09, TC-10, TC-14 | Credential theft/phishing, MFA fatigue, token replay, misconfigured VPN policies, weak device posture controls
Jump Host (A-009) | TC-09, TC-12, TC-14 | RDP/SSH brute force after VPN access, stolen admin credentials, weak session recording, exposed management interfaces
Active Directory (A-002) | TC-10, TC-11, TC-12, TC-14 | Kerberoasting/delegation abuse, pass-the-hash, DCSync, GPO abuse, admin tier violations
Workstations (A-003) | TC-10, TC-12, TC-14 | Living-off-the-land tools (PowerShell), credential dumping, lateral movement via SMB/WinRM, endpoint misconfigurations
EMS Database / EMS Core (A-001) | TC-07, TC-13, TC-14 | Privileged query abuse, bulk export, weak service accounts, ransomware encryption of DB/storage, misuse of admin consoles
HR System → EMS integration | TC-13 | API/DB connector abuse, excessive permissions, unmonitored exports, lack of DLP on personal data flows
API Gateway / Third-party APIs (A-007/A-012) | TC-01 | API key leakage, OAuth token abuse, injection, missing rate limiting, weak input validation
Edge Gateway (A-006) | TC-05, TC-06 | Malicious firmware, backdoor persistence, exposed admin ports, weak device identity, credential harvesting
OTA Firmware Portal / Update Channel (A-019/A-020) | TC-05 | Supply chain compromise, signing key theft, malicious signed updates, weak vendor controls
MQTT Broker / IoT Hub (A-021) | TC-06 | Topic abuse/covert C2, weak ACLs, lack of anomaly detection, egress not controlled
OPC UA / Modbus OT Path (A-016/A-017/A-015) | TC-08 | Protocol abuse, unauthenticated legacy commands, weak segmentation, engineering workstation compromise
Backup System / Storage | TC-12, TC-14 | Backup deletion/disablement, snapshot tampering, lack of immutability/offline copies, poor restore testing
Data Lake / ESG Platform (A-010/A-011) | TC-01, TC-07, TC-13 | SaaS account takeover, excessive API permissions, integrity manipulation, export/exfil of ESG datasets

## M2.Threat_Modelling
Threat_Modelling
Threat ID | Threat Title | Spoofing | Tampering | Repudiation | Information Disclosure | Denial of Service | Elevation of Privilege | Justification / Mapping Rationale
TC-01 | API Compromise | X | X | X | X | X | X | API compromise can spoof tokens/keys, tamper payloads, exfiltrate ESG/EMS data, disrupt services, and escalate privileges via compromised service accounts.
TC-02 | OT Ransomware | X | X |  | X | X | X | OT ransomware typically follows valid/abused access, tampers with system state (encryption), exposes data during staging, causes downtime, and may use privilege escalation for propagation.
TC-03 | Insider |  | X | X | X |  | X | Insider misuse leverages existing privileges (EoP), can tamper with EMS records, exfiltrate data, and deny actions without strong audit trails.
TC-04 | Sensor Spoofing | X | X |  | X | X |  | Sensor spoofing uses falsified identities/signals, tampers telemetry integrity, can disclose data paths, and can cause DoS by corrupting/overloading monitoring and control loops.
TC-05 | OTA Vendor Supply Chain Compromise | X | X | X | X | X | X | Supply-chain compromise enables spoofed trusted updates, tampering of firmware, hidden changes (repudiation), leakage of secrets, operational disruption, and root-level privilege on gateways/devices.
TC-06 | Edge Gateway Backdoor + MQTT C2 + Credential Harvesting | X | X | X | X | X | X | Gateway backdoor supports spoofing device identity, tampering configs, covert MQTT C2, credential harvesting (ID), persistence/repudiation, disruption, and elevated privileges on edge nodes.
TC-07 | ESG/EMS Data Manipulation (CSRD Fraud) |  | X | X | X |  | X | Data manipulation/fraud focuses on tampering with ESG/EMS datasets; repudiation risk without immutable logs; disclosure if data is accessed improperly; EoP via compromised publishing/admin roles.
TC-08 | OT Disruption via OPC UA → Modbus PLC Manipulation | X | X |  |  | X | X | OPC UA→Modbus manipulation can spoof device/command sources, tamper PLC states, cause denial of service/safety impact, and often requires elevated access in OT paths.
TC-09 | Technician VPN Credential Theft / Valid Accounts | X |  | X | X |  | X | Stolen VPN credentials enable spoofing and privilege elevation; weak logging/session controls create repudiation; access may expose personal/compliance data.
TC-10 | Stealth Reconnaissance & Defense Evasion |  |  | X | X |  | X | Stealth recon and defense evasion are primarily information disclosure (discovery) and repudiation (erasing/avoiding logs), enabling subsequent privilege escalation.
TC-11 | Active Directory Privilege Escalation (Kerberoasting / Delegation Abuse) | X |  | X |  |  | X | AD privilege escalation abuses authentication (spoofing/forged tickets) and elevates privileges; attackers may manipulate/disable logs creating repudiation risk.
TC-12 | Lateral Movement + Backup Neutralisation |  | X | X |  | X | X | Lateral movement and backup neutralisation tamper recovery controls, create repudiation (log clearing), drive downtime (DoS), and rely on escalated privileges to propagate.
TC-13 | HR/EMS Data Exfiltration (GDPR breach) |  |  | X | X |  | X | Exfiltration is information disclosure; often involves privileged access (EoP) and anti-forensics/repudiation by hiding traces of staging and transfer.
TC-14 | Ransomware Deployment across IT + EMS | X | X |  |  | X | X | Ransomware deployment uses compromised identities to spread (spoofing), tampers/encrypts systems, causes service outage (DoS), and commonly leverages elevated privileges for impact.

## M2.Risk
Risk Matrix
Risk ID | Threat | Assets | Likelihood | Impact | Rating
R-01 | TC-05 | A-019,A-020,A-006 | Likely | Major | High
R-02 | TC-06 | A-006,A-021 | Likely | Major | High
R-03 | TC-07 | A-001,A-010,A-011 | Possible | Major | High
R-04 | TC-08 | A-016,A-015,A-017,A-004 | Possible | Catastrophic | Critical
R-05 | TC-04 | A-005,A-006 | Possible | Moderate | Medium
R-06 | TC-01 | A-007,A-012 | Possible | Major | High
R-07 | TC-02 | A-004,A-006 | Likely | Catastrophic | Critical
R-08 | TC-03 | A-014,A-009 | Unlikely | Moderate | Medium
R-09 | TC-06 | A-006,A-018 | Possible | Major | High
R-10 | TC-05 | A-020 | Likely | Major | High
R-11 | TC-07 | A-011 | Possible | Major | High
R-12 | TC-08 | A-017 | Possible | Catastrophic | Critical
R-13 | TC-09 | A-013,A-014,A-009 | Likely | Major | High
R-14 | TC-11 | A-002,A-003,A-009 | Likely | Catastrophic | Critical
R-15 | TC-13 | A-001,A-010,A-011 | Possible | Major | High
R-16 | TC-14 | A-001,A-002,A-003,A-013 | Likely | Catastrophic | Critical

## M2.Control_Mapping
Control Mapping
Risk ID | Threat Summary | Current Control | Control Type | Framework Reference | Recommended Additional Control | Implementation Priority
R-01 | Supply-chain OTA compromise | Vendor checks (basic) | Preventive | ISO 27001 / NIS2 | SBOM + signed-update transparency + vendor security clauses + monitoring of update channel | Planned
R-02 | Edge backdoor + MQTT C2 | Network segmentation (partial) | Preventive | IEC 62443 | MQTT allow-listing, device identity (certs), anomaly detection on MQTT topics, egress control | Near-term
R-03 | ESG/EMS data manipulation | Access controls on EMS/Datalake | Preventive | ISO 27001 / CSRD | Data integrity controls: hashing, immutability, dual-control for report publication, lineage/audit trails | Near-term
R-04 | OPC UA→Modbus OT disruption | Firewalls between zones | Preventive | IEC 62443 | Harden OPC UA gateway, strict OT DMZ, unidirectional flows where possible, Modbus compensating controls | Near-term
R-05 | Sensor spoofing / telemetry poisoning | TLS in transit (partial) | Preventive | IEC 62443 | Sensor attestation + anomaly detection + plausibility checks + calibration governance | Near-term
R-06 | API compromise / abuse | API auth + validation | Preventive | ISO 27001 | Rate limiting, WAF, continuous secret rotation, OAuth scopes/ABAC | Near-term
R-07 | OT ransomware impact | Segmentation + backups (partial) | Preventive | IEC 62443 / NIST | OT-safe backup, application allowlisting, recovery drills, OT EDR where feasible | Immediate
R-08 | Insider misuse (maintenance/jump host) | Training + logging | Detective | NIST CSF / GDPR | Least privilege + PAM for technicians + session recording + DLP for HR/EMS linkage | Near-term
R-09 | Pivot risk due to weak segmentation | Firewall rules (inconsistent) | Preventive | IEC 62443 | Micro-segmentation, deny-by-default between IoT and IT, harden gateway admin paths with MFA | Near-term
R-10 | Signing key compromise | HSM (limited rotation) | Preventive | ISO 27001 | Key rotation policy, split knowledge, signing service isolation, audit of build pipeline | Near-term
R-11 | SaaS reporting integrity fraud | Vendor checks (basic) | Preventive | CSRD / ISO 27001 | EU residency enforcement, integrity monitoring, export controls, contractual audit rights | Planned
R-12 | Legacy Modbus manipulation | None (legacy) | Preventive | IEC 62443 | Compensating controls: protocol break, network monitoring, physical safety interlocks, upgrade plan | Near-term
R-13 | VPN credential theft / valid accounts (TC-09) | MFA (basic), password policy | Preventive | NIS2 / NIST PR.AC | Phishing-resistant MFA, conditional access, device posture checks, session binding, PAM for technicians, impossible-travel alerts | Immediate
R-14 | Active Directory privilege escalation (TC-11) | Basic AD hardening | Preventive | NIST PR.AC / CIS Controls | Tiered admin model, PAWs, Kerberos anomaly monitoring, gMSA, enforce LDAP signing, patching & LAPS | Immediate
R-15 | HR/EMS data exfiltration (TC-13) | Central logging (partial) | Detective | GDPR Art. 32 / NIST DE.CM | DLP, egress monitoring, encryption, data minimization, IR playbook for GDPR notification | Immediate
R-16 | Ransomware deployment across IT+EMS (TC-14) | Backups (partial), AV | Preventive | NIST PR.IP / IEC 62443 | Immutable backups, EDR ransomware blocking, allowlisting, rapid isolation procedures, recovery drills and crisis communications | Immediate

## M3.Data_Flow_Diagram
Data_Flow_Diagram
External Entities |  | Processes
OTA Vendor |  | P1 Sensor ingestion
ESG SaaS Vendor |  | P2 Worker proximity processing
Regulatory Authorities |  | P3 EMS aggregation
Remote Employees |  | P4 HR-EMS correlation
Supply Chain Partners |  | P5 ESG reporting
Data Protection Authority |  | P6 OTA updates
P7 Access logging
P8 DSAR handling
P9 Incident reporting
Flow ID | Source | Destination | Data | Protocol | Personal Data | Sensitivity | Trust Boundary | Lawful Basis
DF-01 | Sensors | Edge Gateway | Telemetry + proximity signals | MQTT/CoAP | Y | High | OT | Legitimate Interests
DF-02 | Edge Gateway | MQTT Broker / IoT Hub | Telemetry (and potential covert C2) | MQTT | N | Medium | IoT↔IT/Cloud | N/A
DF-03 | MQTT Broker / IoT Hub | Cloud Data Lake | Telemetry / ESG datasets | TLS/HTTPS | Y | High | Cloud | Legitimate Interests
DF-04 | OTA Firmware Portal | Edge Gateway | Firmware update package | HTTPS | N | High | Org↔OTA vendor | N/A
DF-05 | Edge Gateway | EMS / Broker | Environmental measurements | HTTPS | N | Medium | IT/DMZ | N/A
DF-06 | EMS (Site) | Cloud Data Lake | EMS replication / analytics data | HTTPS/TLS | N | Medium | On-prem↔Cloud | N/A
DF-07 | HR System | EMS | Employee safety/proximity data | HTTPS/SQL | Y | High | IT | Contract
DF-08 | VPN Concentrator | Jump Host | Remote admin session (metadata + commands) | IPSec/SSL VPN + RDP/SSH | N | Low | External↔DMZ | N/A
DF-09 | Jump Host | Active Directory | Directory queries & Kerberos tickets (enumeration) | Kerberos/LDAP | N | High | DMZ↔IT | N/A
DF-10 | Workstations | Active Directory | Kerberos auth + admin operations | Kerberos/SMB | N | High | Internal IT | N/A
DF-11 | Workstations | EMS / EMS Database | User/admin actions; data access | HTTPS/SQL | N | Low | IT | N/A
DF-12 | ESG Platform | Regulators / Stakeholders | CSRD report submission | HTTPS | N | Medium | External | N/A
DF-13 | Incident Response Team | Data Protection Authority | Breach notification evidence (HR/EMS) + timelines | HTTPS/Email | Y | High | External | Legal Obligation
DF-14 | Backup System | Storage (On-prem/Cloud) | Backup snapshots & recovery images | SFTP/HTTPS | N | High | IT↔Cloud | N/A